## Work_List
AI2 Equipment PLI Code | AI2 Equipment SAI Number | AI2 Common Name | NGR | AI2 Root Reference | S4 Root FuncLoc | S4 Equipment FuncLoc | S4 System Name | Level Controller Name | Install Date | Controller Manufacturer | Controller Model | Controller Serial Number | Transducer Model | Transducer Serial Number | Relay 1 Function | Relay 1 On | Relay 1 Off | Relay 2 Function | Relay 2 On | Relay 2 Off | Relay 3 Function | Relay 3 On | Relay 3 Off | Relay 4 Function | Relay 4 On | Relay 4 Off | Relay 5 Function | Relay 5 On | Relay 5 Off | Relay 6 Function | Relay 6 On | Relay 6 Off | Memo Line | Comment
PLI00000001 | SAI00000001 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE4856638339 | SAI00000001 | XYZ01-EDC-LQD-RGM | XYZ01-EDC-LQD-RGM-SYS01 | On Site Monitoring System | Level Monitoring Loop | 2019-09-18 | SIEMENS | CONTROLLER PLUS | AB/10001 | XRS-5 | ABC/12001 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | Installed on scheme Z003 Plant Refurbishment 2019
PLI00000002 | SAI00000002 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE6161273406 | SAI00000002 | XYZ01-EDC-LQD-RGM-SYS01 |  | On Site Monitoring System | High Level Monitoring Loop | 2019-09-25 | SIEMENS | CONTROLLER 2000 | AB/10002 | XRS-5 |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO
PLI00000003 | SAI00000003 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE4856638339 | SAI00000003 | XYZ01-EDC-LQD | XYZ01-EDC-LQD-RGM-SYS01 | On Site Monitoring System | Level Monitoring Loop | 2019-10-03 | SIEMENS | CONTROLLER 2000 | AB/10003 | XRS-5 | ABC/12003 | [18 empty] | Installed on scheme Z003 Plant Refurbishment 2019
PLI00000004 | SAI00000004 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE6161273406 | SAI00000004 | XYZ01 | XYZ01-EDC-LQD-RGM-SYS01 | On Site Monitoring System | Level Monitoring Loop | 2019-10-30 | SIEMENS | CONTROLLER 2000 | AB/10004 | XRS-5 |  | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2
PLI00000005 | SAI00000005 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE4856638339 | SAI00000005 | XYZ01-EDC-LQD-RGM-SYS01 |  | On Site Monitoring System | Overflow Monitoring Loop | 2019-10-11 | SIEMENS | CONTROLLER PLUS | AB/10005 | XRS-5 | ABC/12005 | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | Installed on scheme Z003 Plant Refurbishment 2019
PLI00000006 | SAI00000006 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE6161273406 | SAI00000006 | XYZ01 | XYZ01-EDC-LQD-RGM-SYS01 | On Site Monitoring System | Level Monitoring Loop | 2019-08-05 | SIEMENS | CONTROLLER 2000 | AB/10006 | XPS-15
PLI00000007 | SAI00000007 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE4856638339 | SAI00000007 | XYZ01-EDC-LQD-RGM | XYZ01-EDC-LQD-RGM-SYS01 | On Site Monitoring System | Overflow Monitoring Loop | 2019-08-20 | SIEMENS | CONTROLLER 2000 | AB/10007 | XPS-15 | ABC/12007 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | Installed on scheme Z003 Plant Refurbishment 2019 | Zzzzzzz should add equipment to an existing FuncLoc (no new funclocs)
PLI00000008 | SAI00000008 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE6161273406 | SAI00000008 | XYZ01-EDC-LQD-RGM-SYS01 |  | On Site Monitoring System | High Level Monitoring Loop | 2019-10-31 | SIEMENS | CONTROLLER 2000 | AB/10008 | XPS-15 |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO |  |  | LOSS OF ECHO
PLI00000009 | SAI00000009 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE4856638339 | SAI00000009 | XYZ01-EDC-LQD | XYZ01-EDC-LQD-RGM-SYS01 | On Site Monitoring System | Level Monitoring Loop | 2019-07-31 | SIEMENS | CONTROLLER 2000 | AB/10009 | XPS-15 | ABC/12009 | [18 empty] | Installed on scheme Z003 Plant Refurbishment 2019
PLI00000010 | SAI00000010 | WESTLAKE/INCOMING LANE/EQUIPMENT: LEVEL MONITORING UNIT | SE6161273406 | SAI00000010 | XYZ01 | XYZ01-EDC-LQD-RGM-SYS01 | On Site Monitoring System | Level Monitoring Loop | 2019-07-31 | SIEMENS | CONTROLLER 2000 | AB/10010 | XPS-15 |  | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | UNDESIGNATED LEVEL ALARM | 1.5 | 1.2 | Installed on scheme Z003 Plant Refurbishment 2019