## Work_List
S4 Root FuncLoc | AI2 Site Reference | S4 System Name | NGR | Install Date | AI2 Equipment SAI Number | AI2 Equipment PLI Code | Level Controller Name | Manufacturer | Model | Serial Number | Transducer Model | Transducer Serial Number | Memo Line | Relay 1 Function | Relay 1 On | Relay 1 Off | Relay 2 Function | Relay 2 On | Relay 2 Off | Relay 3 Function | Relay 3 On | Relay 3 Off | Relay 4 Function | Relay 4 On | Relay 4 Off | Relay 5 Function | Relay 5 On | Relay 5 Off | Relay 6 Function | Relay 6 On | Relay 6 Off
BRI01 | SAI00023001 | EA Event Duration Monitoring | ND1128168190 | 2019-08-02 | SAI00023450 | PLI00004561 | Storm Overflow Level Monitor Loop | SIEMENS | HYDRORANGER 200 | PDB2981/XK | XRS-5 | 2007/234500 | [16 empty] | LOSS OF ECHO